## Cover Page
ATTACHMENT "C" EQUIPMENT LIST AND PRICING SUMMARY
Irvine Unified School District
Irvine High School Bldg. H and Bldg. S AHU Replacement
Clean Energy Job Act Proposition 39
HVAC Design Build Services at Irvine High School
RFQ/RFP No.: |  | 17/18-02MO
Firms wishing to propose for the above-referenced project (“Project”) must submit their proposals on this Pricing Form. Only proposals which are submitted on this Pricing Form will be accepted. This Pricing Form must be submitted to the “Place of Proposal Receipt and Opening” and by the “Proposal Deadline” specified in the RFQ/RFP. When submitting this Pricing Form, the Firm must include in the same envelope as this Pricing Form the other documents required by the RFQ/RFP. Firms should carefully review the RFQ/RFP when completing and submitting this Pricing Form and related documents. Failure to properly submit and complete the entire Pricing Form and all of the other documents as required by the RFQ/RFP may invalidate the proposal and cause the District to reject the proposal as non-responsive.
The name, address and other information identifying the Firm who is submitting this Pricing Form ("Firm") is as follows:
A. Name: | [ENTER FIRM NAME]
B. Type of Entity (select one)
C. State in which Firm was organized (if Firm is an entity) or in which Firm resides (if Firm is an individual) (select one)
FUNDING SUMMARY
1. Submission of Proposal. The Firm hereby submits this proposal to the District and agrees to perform all work required by the “Agreement” (as that term is defined in the Instruction to Bidders) for the construction of the Project, at the Bid Price specified in Section 3 below and subject to all of the terms, conditions, representations and warranties set forth in this Pricing Form.
2. Project Allowance. Bid Allowance of $80000 to be included in Firm's Final Price.
3. Itemized Bid Price. The total of the itemized bid price should match the total base price in item 5.
4. Addendum (s) Check box and Initial next to box indicating CONTRACTOR has received and included all DISTRICT issued Addendums in Total Base Price below.
| Addendum 1 (if applicable) |  | $
| Addendum 2 (if applicable) |  | $
| Addendum 3 (if applicable) |  | $
5. Total Bid Price Including Project Allowance : Total base price plus the project allowance.
| Base Price + Addendum without Allowance |  |  |  | 0
| Project Allowance |  |  |  | 80000
| Total Bid Price |  |  |  | 80000
6. District Proposal Form: Contractor must include this Total Bid Price on the District provided Proposal Form.
CERTIFICATION OF INFORMATION
I, the below-indicated bidder, declare under penalty of perjury that the information provided and representation made in this proposal are true and correct.
[ENTER FIRM NAME]
Proper Name of Company
Name of Firm Representative
Street Address
City, State, and Zip
| Phone |  |  | Fax
Email
Firm’s California State Contractor’s License Number:
Class of Firm’s California State Contractor’s License:
Name under which Firm does business (if different from Firm’s legal name). If none, mark "N/A"
By
|  | Signature of Representative |  |  |  | Date
General Partnership
Limited Partnership
Other (please specify)
Limited Liability Partnership
Limited Liability Company
Individual
Corporation
California
Other (please specify)

## Contractor Pricing Summary
Irvine Unified School District
REQUEST FOR PROPOSAL
Irvine High School Bldg. H and Bldg. S AHU Replacement
RFQ/RFP No. | 17/18-02MO
Firm Name | [ENTER FIRM NAME]
CONTRACTOR PRICING SUMMARY
Description | Material Price | Labor Price | Total
Building H | 0 | 0 | 0
Building S | 0 | 0 | 0
Special Rental/Transport | 0 | 0 | 0
Sub-Total | 0 | 0 | 0
Miscellaneous Costs |  |  | 0
Bonds |  |  | [INPUT BOND COST]
OH&P |  |  | 0
Bid Allowance |  |  | 80000
Total Bid Amount |  |  | 80000

## Building H
Firm Name |  | [ENTER FIRM NAME]
Client |  | Irvine Unified School District
Project |  | Irvine High School Bldg. H and Bldg. S AHU Replacement
RFQ/RFP No. |  | 17/18-02MO
Pricing Sheet
|  |  |  | Project Cost Estimate (PER UNIT) |  |  |  |  | Weight Limits
ID | Description | Proposed Make/Model/Scope | QTY | Material | Labor | OH&P | Misc. | Total | Current Weight (lb) | Proposed Weight (lb) | Variance (%) | Flag
1 | Building H Unit 13-101, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-16 | Make: Model: | 1 |  |  |  |  | 0 | 500
2 | Building H Unit 13-102, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-18 | Make: Model: | 1 |  |  |  |  | 0 | 500
3 | Building H Unit 13-103, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-21 | Make: Model: | 1 |  |  |  |  | 0 | 500
4 | Building H Unit 13-111, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-52 | Make: Model: | 1 |  |  |  |  | 0 | 500
5 | Building H Unit 13-112, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-1 | Make: Model: | 1 |  |  |  |  | 0 | 500
6 | Building H Unit 13-113, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-74 | Make: Model: | 1 |  |  |  |  | 0 | 500
7 | Building H Unit 13-121, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-77 | Make: Model: | 1 |  |  |  |  | 0 | 500
8 | Building H Unit 13-122, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LWOS- | Make: Model: | 1 |  |  |  |  | 0 | 500
9 | Building H Unit 13-123, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-32 | Make: Model: | 1 |  |  |  |  | 0 | 500
10 | Building H Unit 13-131, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-27 | Make: Model: | 1 |  |  |  |  | 0 | 500
11 | Building H Unit 13-132, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LWOS-8 | Make: Model: | 1 |  |  |  |  | 0 | 500
12 | Building H Unit 13-133, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-3 | Make: Model: | 1 |  |  |  |  | 0 | 500
13 | Building H Unit 13-141, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LWOS-31 | Make: Model: | 1 |  |  |  |  | 0 | 500
14 | Building H Unit 13-142, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-65 | Make: Model: | 1 |  |  |  |  | 0 | 500
15 | Building H Unit 13-143, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-33 | Make: Model: | 1 |  |  |  |  | 0 | 500
16 | Building H Unit 13-151, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-28 | Make: Model: | 1 |  |  |  |  | 0 | 500
17 | Building H Unit 13-152, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-52 | Make: Model: | 1 |  |  |  |  | 0 | 500
18 | Building H Unit 13-153, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-67 | Make: Model: | 1 |  |  |  |  | 0 | 500
19 | Building H Unit 13-161, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-59 | Make: Model: | 1 |  |  |  |  | 0 | 500
20 | Building H Unit 13-162, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-17 | Make: Model: | 1 |  |  |  |  | 0 | 500
21 | Building H Unit 13-163, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-53 | Make: Model: | 1 |  |  |  |  | 0 | 500
22 | Building H Unit 13-171, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05- 13 | Make: Model: | 1 |  |  |  |  | 0 | 500
23 | Building H Unit 13-172, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-57 | Make: Model: | 1 |  |  |  |  | 0 | 500
24 | Building H Unit 13-173, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-26 | Make: Model: | 1 |  |  |  |  | 0 | 500
25 | Building H Unit 13-181, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-68 | Make: Model: | 1 |  |  |  |  | 0 | 500
26 | Building H Unit 13-182, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-58 | Make: Model: | 1 |  |  |  |  | 0 | 500
27 | Building H Unit 13-191, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-47 | Make: Model: | 1 |  |  |  |  | 0 | 500
28 | Building H Unit 13-192, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-54 | Make: Model: | 1 |  |  |  |  | 0 | 500
29 | Building H Unit 13-193, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-11 | Make: Model: | 1 |  |  |  |  | 0 | 500
30
|  |  | SUBTOTAL | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL PROJECT COST | 0
Remarks

## Building S
Firm Name |  | [ENTER FIRM NAME]
Client |  | Irvine Unified School District
Project |  | Irvine High School Bldg. H and Bldg. S AHU Replacement
RFQ/RFP No. |  | 17/18-02MO
Pricing Sheet
|  |  |  | Project Cost Estimate (PER UNIT) |  |  |  |  | Weight Limits
ID | Description | Proposed Make/Model/Scope | QTY | Material | Labor | OH&P | Misc. | Total | Current Weight (lb) | Proposed Weight (lb) | Variance (%) | Flag
1 | Building S Unit 13-201, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-60 | Make: Model: | 1 |  |  |  |  | 0 | 500
2 | Building S Unit 13-202, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-25 | Make: Model: | 1 |  |  |  |  | 0 | 500
3 | Building S Unit 13-203, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-20 | Make: Model: | 1 |  |  |  |  | 0 | 500
4 | Building S Unit 13-211, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-51 | Make: Model: | 1 |  |  |  |  | 0 | 500
5 | Building S Unit 13-212, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-19 | Make: Model: | 1 |  |  |  |  | 0 | 500
6 | Building S Unit 13-213, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-81 | Make: Model: | 1 |  |  |  |  | 0 | 500
7 | Building S Unit 13-221, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-64 | Make: Model: | 1 |  |  |  |  | 0 | 500
8 | Building S Unit 13-222, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-30 | Make: Model: | 1 |  |  |  |  | 0 | 500
9 | Building S Unit 13-223, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-66 | Make: Model: | 1 |  |  |  |  | 0 | 500
10 | Building S Unit 13-231, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-29 | Make: Model: | 1 |  |  |  |  | 0 | 500
11 | Building S Unit 13-232, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-23 | Make: Model: | 1 |  |  |  |  | 0 | 500
12 | Building S Unit 13-233, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-75 | Make: Model: | 1 |  |  |  |  | 0 | 500
13 | Building S Unit 13-241, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-68 | Make: Model: | 1 |  |  |  |  | 0 | 500
14 | Building S Unit 13-242, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-9 | Make: Model: | 1 |  |  |  |  | 0 | 500
15 | Building S Unit 13-243, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-76 | Make: Model: | 1 |  |  |  |  | 0 | 500
16 | Building S Unit 13-251, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-71 | Make: Model: | 1 |  |  |  |  | 0 | 500
17 | Building S Unit 13-252, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-8 | Make: Model: | 1 |  |  |  |  | 0 | 500
18 | Building S Unit 13-261, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-80 | Make: Model: | 1 |  |  |  |  | 0 | 500
19 | Building S Unit 13-262, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-4 | Make: Model: | 1 |  |  |  |  | 0 | 500
20 | Building S Unit 13-271, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-56 | Make: Model: | 1 |  |  |  |  | 0 | 500
21 | Building S Unit 13-272, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-12 | Make: Model: | 1 |  |  |  |  | 0 | 500
22 | Building S Unit 13-273, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-62 | Make: Model: | 1 |  |  |  |  | 0 | 500
23 | Building S Unit 13-281, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-73 | Make: Model: | 1 |  |  |  |  | 0 | 500
24 | Building S Unit 13-282, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-24 | Make: Model: | 1 |  |  |  |  | 0 | 500
25 | Building S Unit 13-283, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05-78 | Make: Model: | 1 |  |  |  |  | 0 | 500
26 | Building S Unit 13-291, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05- | Make: Model: | 1 |  |  |  |  | 0 | 500
27 | Building S Unit 13-292, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05- | Make: Model: | 1 |  |  |  |  | 0 | 500
28 | Building S Unit 13-293, AHU, 1200CFM; John Zink Model: RAH03602843; S/N: 75LW05- | Make: Model: | 1 |  |  |  |  | 0 | 500
29 | [7 empty] | 0
30 | [7 empty] | 0
|  |  | SUBTOTAL | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL PROJECT COST | 0
Remarks

## Special Rental-Transport Costs
Firm Name |  | [ENTER FIRM NAME]
Client |  | Irvine Unified School District
Project |  | Irvine High School Bldg. H and Bldg. S AHU Replacement
RFQ/RFP No. |  | 17/18-02MO
Pricing Sheet
Project Cost Estimate
ID | Description | Detailed Description | QTY | Material | Labor | OH&P | Misc. | Total
1 | Helicopter Air Lift Operation (as needed) | [6 empty] | 0
2 | Scissor Lift Rental (as needed) | [6 empty] | 0
3 | Crane Rental (as needed) | [6 empty] | 0
4 | Tooling Rental (as needed) | [6 empty] | 0
5 | [7 empty] | 0
6 | [7 empty] | 0
7 | [7 empty] | 0
8 | [7 empty] | 0
9 | [7 empty] | 0
10 | [7 empty] | 0
11 | [7 empty] | 0
12 | [7 empty] | 0
13 | [7 empty] | 0
14 | [7 empty] | 0
15 | [7 empty] | 0
16 | [7 empty] | 0
17 | [7 empty] | 0
18 | [7 empty] | 0
19 | [7 empty] | 0
20 | [7 empty] | 0
|  |  | SUBTOTAL | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL PROJECT COST | 0
Remarks

## DROPDOWN
REQUEST FOR
REQUEST FOR INFORMATION
REQUEST FOR QUOTE
REQUEST FOR PROPOSAL
Type
[Select Option]
Design-Build Lighting Services
Design-Build HVAC Services